## Sheet1
Electrical Safety on Small Construction Sites Pre-Start Checksheet
| Site name: |  |  |  |  | Site location:
The following is required on any work site:
For new sites - all temporary builders supply to have a Certificate of Compliance (CoC)
For renovation sites - electrical equipment to be connected to a portable socket-outlet assemblies (PSOAs) which is required to be tested and tagged 3 monthly. PSOA must be rated for outdoor use
All residual current devices (RCDs) are tested and tagged as per AS/NZS 3760 (6 monthly)
| Check the following items prior to using any electrical equipment at the beginning of the work day: |  |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date: |  | Date:
|  |  | N/A | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No
| 1 | Is all electrical equipment on site RCD protected?
| 2 | Have all RCDs or PSOAS been tested using the test button?
| 3 | Has all electrical equipment been checked for faults and any visible signs of damage?
| 4 | Has all faulty equipment been removed from site?
| 5 | Is all electrical equipment (including power tools) protected from the weather and other harm eg dust, water, chemicals?
| 6 | Are battery chargers being used in dry and dust-free environments?
| 7 | Are all leads and cords arranged to prevent slips and trips?
| 8 | Are leads raised off the ground eg using non-conductive hooks or cable protectors used to protect leads on the ground?
| 9 | Can workers reach raised leads and plugs without using height equipment eg ladders?
| 10 | Do extension leads have heavy-duty sheathes cords?
| 11 | Is all electrical equipment procteted by a correctly rated RCD?
| 11 | Are extension leads stored away when not in use?
Inspected carried out by: (initial daily)
| Comments/Defect list: |  |  | PCBU Name:
Completed by:
Signature:
Echecksheet V1